## 1m_15%
Battery Sizing
Pot _ 100% [kW] | Use Time | Time | Pot [%] | Pot_nom[kW] | Energy Batt [kWh]
3650 | 0.5 | 8 | 0 | 0 | 0
|  | 8.5 | 0 | 0 | 0
|  | 9 | 0.05 | 182.5 | 91.25 | 233.9744
|  | 9.5 | 0.05 | 182.5 | 91.25
|  | 10 | 0.25 | 912.5 | 0
|  | 10.5 | 0.25 | 912.5 | 0
|  | 11 | 0.35 | 1277.5 | 0
|  | 11.5 | 0.55 | 2007.5 | 0
|  | 12 | 0.95 | 3467.5 | 0
|  | 12.5 | 0.55 | 2007.5 | 0
|  | 13 | 0.55 | 2007.5 | 0
|  | 13.5 | 0.35 | 1277.5 | 0
|  | 14 | 0.25 | 912.5 | 0
|  | 14.5 | 0.25 | 912.5 | 0
|  | 15 | 0.15 | 547.5 | 273.75 | 701.9231 | 467.9487
|  | 15.5 | 0.15 | 547.5 | 273.75
|  | 16 | 0.1 | 365 | 182.5 | 467.9487 | -233.9744
|  | 16.5 | 0.1 | 365 | 182.5
|  | 17 | 0.05 | 182.5 | 91.25
|  | 17.5 | 0.05 | 182.5 | 91.25
|  | 18 | 0 | 0 | 0
|  | Total |  |  | 1277.5

## 2m_15%
Pot _ 100% [kW] | Use Time | Time | Pot [%] | Pot [kW] | Energy Batt [kWh]
3650 | 0.5 | 8 | 0 | 0 | 0
|  | 8.5 | 0.1 | 365 | 182.5 | 467.9487
|  | 9 | 0.25 | 912.5 | 0
|  | 9.5 | 0.4 | 1460 | 0
|  | 10 | 0.95 | 3467.5 | 0
|  | 10.5 | 0.75 | 2737.5 | 0
|  | 11 | 0.35 | 1277.5 | 0
|  | 11.5 | 0.15 | 547.5 | 273.75 | 701.9231 | 233.9744
|  | 12 | 0.05 | 182.5 | 91.25 | 233.9744 | -467.9487
|  | 12.5 | 0 | 0 | 0
|  | 13 | 0 | 0 | 0
|  | 13.5 | 0 | 0 | 0
|  | 13.9954 | 0.05 | 182.5 | 91.25
|  | 14.5 | 0.15 | 547.5 | 273.75
|  | 14.995 | 0.25 | 912.5 | 0
|  | 15.5 | 0.35 | 1277.5 | 0
|  | 15.9946 | 0.95 | 3467.5 | 0
|  | 16.5 | 0.7 | 2555 | 0
|  | 16.9943 | 0.45 | 1642.5 | 0
|  | 17.5 | 0.3 | 1095 | 0
|  | 17.9939 | 0 | 0 | 0
|  | Total |  |  | 912.5

## EnergyDemand_15%
E_load | Energy Required by the load profile (kWh) | 1469.125 | P_batt (kW) | 600
k_aging | Battery Aging factor (over-sizing for end-of-life) (%) | 0.8 | C-rate | 0.40841
DOD_max | Maximum allowable Depth of Discharge (%) | 0.8
n_sys | System efficiency (path from the battery to propeller) (%) | 0.88
k_temp | Temperature correction factor (-) | 1.05
k_c-rate | Capacity rating factor (-) | 1
E_de | Equivalent Energy Demand (kWh) | 2738.9582
Factor |  | 1.8643
E_batt_out |  | 1670.4545
E_BOL |  | 2088.0682
E_EOL |  | 2610.0852
E_final |  | 2740.5895

## Batt3
Ejercicio 1
Nombre | High Efficiency 48V 210Ah Forklift Battery
Cálculo de cantidad de baterías en función de DOD ( Batt=Batt(DOD) ) |  |  |  | Cálculo de DOD en función de Baterías ( DOD=DOD(Batt) )
Tensión Banco Batt [V] |  |  |  | Tensión Banco Batt [V]
Ns máx fab (?) | 2 |  |  | Ns máx fab (?) | 2
V nom (modulo) | 51.2 |  |  | V nom (modulo) | 51.2 | Np | Np*Ns | DOD | SOC
Tensión Banco Batt | 102.4 |  |  | Tensión Banco Batt | 102.4 | 10 | 20 | 0.93 | 0.07
[6 empty] | 12 | 24 | 0.78 | 0.22
Capacidad Banco Batt [Ah] |  |  |  | Capacidad Banco Batt [Ah] |  | 14 | 28 | 0.66 | 0.34
Ebatt Tot [kWh] | 200 |  |  | Ebatt Tot [kWh] | 200 | 16 | 32 | 0.58 | 0.42
Tensión del banco | 102.4 |  |  | Tensión del banco | 102.4 | 18 | 36 | 0.52 | 0.48
DOD | 0.4 |  |  | Np | 32 | 20 | 40 | 0.47 | 0.53
Csist requerida [Ah] | 4882.8125 |  |  | Capacidad Módulo [Ah] | 210 | 22 | 44 | 0.42 | 0.58
|  |  |  | C total del banco [Ah] | 6720 | 24 | 48 | 0.39 | 0.61
Cantidad de baterias en Paralelo |  |  |  | DOD | 0.29064 | 26 | 52 | 0.36 | 0.64
Capacidad Módulo [Ah] | 210 |  |  |  |  | 28 | 56 | 0.33 | 0.67
Np | 23.2515 |  |  |  |  | 30 | 60 | 0.31 | 0.69
Np Real | 24 |  |  |  |  | 32 | 64 | 0.29 | 0.71
Np máx fab (?) | 10
Capacidad total banco [Ah] | 5040
Total de Baterías | 48 |  |  | Total de Baterías | 64 | Np | Np*Ns | Peso B_Bank [kg] | Vol [cm3]
[6 empty] | 10 | 20 | 2100 | 2493375
Peso y volumen del banco |  |  |  | Peso y volumen del banco |  | 12 | 24 | 2520 | 2992050
Peso módulo [kg] | 105 |  |  | Peso módulo [kg] | 105 | 14 | 28 | 2940 | 3490725
Largo [cm] | 61 |  |  | Largo [cm] | 61 | 16 | 32 | 3360 | 3989400
Ancho [cm] | 37.5 |  |  | Ancho [cm] | 37.5 | 18 | 36 | 3780 | 4488075
Alto [cm] | 54.5 |  |  | Alto [cm] | 54.5 | 20 | 40 | 4200 | 4986750
Vol [cm3] | 124668.75 |  |  | Vol [cm3] | 124668.75 | 22 | 44 | 4620 | 5485425
Peso Total Banco [kg] | 5040 |  |  | Peso Total Banco [kg] | 6720 | 24 | 48 | 5040 | 5984100
Volumen Total Banco [cm3] | 5984100 |  |  | Volumen Total Banco [cm3] | 7978800 | 26 | 52 | 5460 | 6482775
[6 empty] | 28 | 56 | 5880 | 6981450
[6 empty] | 30 | 60 | 6300 | 7480125
[6 empty] | 32 | 64 | 6720 | 7978800
Ejercicio 2
|  | Ubp [V] (Battery pack voltage) | 150
|  | Ubc [V] (Baterry cell voltage) | 51.2
|  | Ncs [-] (Number of cell in string) | 3 |  |  |  | Np*Ns | Vol [cm3]
|  | Ebc [Wh] (Energy of a baterry cell) | 10752 |  |  |  | 20 | 2493375
|  | Ebs [Wh] (Energy of a String) | 32256 |  |  |  | 24 | 2992050
|  | Ebp [Wh] (Battery pack total energy) | 200000 |  |  |  | 28 | 3490725
|  | Nsb [-] (Number of strings in a battery pack) | 7 |  |  |  | 32 | 3989400
|  | Cbc [Ah] (Battery cell capacity) | 210 |  |  |  | 36 | 4488075
|  | Cbp [Ah] (Battery pack capacity) | 1470 |  |  |  | 40 | 4986750
|  | Ncb [-] (Number of cells of the battery pack) | 21 |  |  |  | 44 | 5485425
[7 empty] | 48 | 5984100
|  | mbc [kg] (mass of each battery cell) | 105 |  |  |  | 52 | 6482775
|  | mbp [kg] (battery mass pack) | 2205 |  |  |  | 56 | 6981450
|  | Vcc(pc) [m3] (volume of each cell) | 0.1247 |  |  |  | 60 | 7480125
|  | Vbp [m3] (volume of the battery pack) | 2.6187 |  |  |  | 64 | 7978800
Ejercicio 2 - Dato corrientes proveedor |  |  |  | Ejercicio 2 - Dato C_rate proveedor
Charge Current [A] | 100 |  |  | Charge Current [A] | 100
Constant Discharge Current [A] | 250 |  |  | Constant Discharge Current [A] | 250
Peak Discharge Current [A] @5 | 500 |  |  | Peak Discharge Current [A] @5 | 500
C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 0.47619 |  |  | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | #DIV/0!
C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1.1905 |  |  | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | #DIV/0!
C-rate_bcp[1/h] (peak C-rate of the battery cell) | 2.381 |  |  | C-rate_bcp[1/h] (peak C-rate of the battery cell) | #DIV/0!
Ispc [A] (string peak current) | 500 |  |  | Ispc [A] (string peak current) | #DIV/0!
Ibpp[A] (battery pack pack current) | 3500 |  |  | Ibpp[A] (battery pack pack current) | #DIV/0!
Pbpp [W] (battery pack peak power) | 525000 |  |  | Pbpp [W] (battery pack peak power) | #DIV/0!
Iscc [A] (string continuous current) (charge) | 100 |  |  | Iscc [A] (string continuous current) (charge) | #DIV/0!
Ibpc[A] (battery pack continuous current) (charge) | 700 |  |  | Ibpc[A] (battery pack continuous current) (charge) | #DIV/0!
Pbpc[W] (battery pack continuous power) (charge) | 105000 |  |  | Pbpc[W] (battery pack continuous power) (charge) | #DIV/0!
Iscc [A] (string continuous current) (discharge) | 250 |  |  | Iscc [A] (string continuous current) (discharge) | #DIV/0!
Ibpc[A] (battery pack continuous current) (discharge) | 1750 |  |  | Ibpc[A] (battery pack continuous current) (discharge) | #DIV/0!
Pbpc[W] (battery pack continuous power) (discharge) | 262500 |  |  | Pbpc[W] (battery pack continuous power) (discharge) | #DIV/0!
Note on E36: ====== ID#AAABYWq4-H0 Leonardo Solis Zamora (2024-11-11 12:21:57) Dato Propuesto
Note on E41: ====== ID#AAABYWq4-Hw Leonardo Solis Zamora (2024-11-11 12:21:57) Dato Propuesto
Note on B55: ====== ID#AAABYWq4-H4 Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.
Note on F55: ====== ID#AAABYWq4-HY Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.

## NMC
Batería | ABL-012010P |  | Batería | ABL-012030P |  | Batería | E4050T1
Marca | Aegis Battery |  | Marca | Aegis Battery |  | Marca | Corvus Energy
Tecnología | NMC |  | Tecnología | NMC |  | Tecnología | NMC
Energy Density [Wh/kg] | 150 |  | Energy Density [Wh/kg] | 171.4286 |  | Energy Density [Wh/kg] | 898.8228
Weight [kg] | 0.8 |  | Weight [kg] | 2.1 |  | Weight [kg] | 0.47621
Energy Density [Wh/L] | 244.898 |  | Energy Density [Wh/L] | 319.4321 |  | Energy Density [Wh/L] | 100.5032
Energy [Wh] | 120 |  | Energy [Wh] | 360
Length [mm] | 100 |  | Length [mm] | 230
Width [mm] | 70 |  | Width [mm] | 70
Thickness [mm] | 70 |  | Thickness [mm] | 70
Volume [L] | 0.49 |  | Volume [L] | 1.127 |  | Volume [L] | 4.2589
Batería |  |  | Batería |  |  | Batería
Ubp [V] (Battery pack voltage) | 750 |  | Ubp [V] (Battery pack voltage) | 750 |  | Ubp [V] (Battery pack voltage) | 750
Ubc [V] (Baterry cell voltage) | 12 |  | Ubc [V] (Baterry cell voltage) | 12 |  | Ubc [V] (Baterry cell voltage) | 2.8409
Nsc [-] (Number of cell in string) | 63 |  | Nsc [-] (Number of cell in string) | 63 |  | Nsc [-] (Number of cell in string) | 264
Ebc [Wh] (Energy of a baterry cell) | 120 |  | Ebc [Wh] (Energy of a baterry cell) | 360 |  | Ebc [Wh] (Energy of a baterry cell) | 428.0303
Ebs [Wh] (Energy of a String) | 7560 |  | Ebs [Wh] (Energy of a String) | 22680 |  | Ebs [Wh] (Energy of a String) | 113000
Ebp [Wh] (Battery pack total energy) | 2800000 |  | Ebp [Wh] (Battery pack total energy) | 2800000 |  | Ebp [Wh] (Battery pack total energy) | 2800000
Nsb [-] (Number of strings in a battery pack) | 371 |  | Nsb [-] (Number of strings in a battery pack) | 124 |  | Nsb [-] (Number of strings in a battery pack) | 25
Cbc [Ah] (Battery cell capacity) | 10 |  | Cbc [Ah] (Battery cell capacity) | 30 |  | Cbc [Ah] (Battery cell capacity) | 128
Cbp [Ah] (Battery pack capacity) | 3710 |  | Cbp [Ah] (Battery pack capacity) | 3720 |  | Cbp [Ah] (Battery pack capacity) | 3200
Nbp [-] (Number of cells of the battery pack) | 23373 |  | Nbp [-] (Number of cells of the battery pack) | 7812 |  | Nbp [-] (Number of cells of the battery pack) | 6600
mbc [kg] (mass of each battery cell) | 0.8 |  | mbc [kg] (mass of each battery cell) | 2.1 |  | mbc [kg] (mass of each battery cell) | 0.47621
mbp [kg] (battery mass pack) | 18698.4 |  | mbp [kg] (battery mass pack) | 16405.2 |  | mbp [kg] (battery mass pack) | 3143
Vbc [m3] (volume of each cell) | 0.00049 |  | Vbc [m3] (volume of each cell) | 0.001127 |  | Vbc [m3] (volume of each cell) | 0.0042589
Vbp [m3] (volume of the battery pack) | 11.4528 |  | Vbp [m3] (volume of the battery pack) | 8.8041 |  | Vbp [m3] (volume of the battery pack) | 28.1086
C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 0.5 |  | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 0.5 |  | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 1
C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1 |  | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1 |  | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1
C-rate_bcp[1/h] (peak C-rate of the battery cell) | 3 |  | C-rate_bcp[1/h] (peak C-rate of the battery cell) | 3 |  | C-rate_bcp[1/h] (peak C-rate of the battery cell) | 3
Charge Current [A] | 3 |  | Charge Current [A] | 5 |  | Charge Current [A] | 128
Constant Discharge Current [A] | 5 |  | Constant Discharge Current [A] | 30 |  | Constant Discharge Current [A] | 128
Peak Discharge Current [A] @2s | 20 |  | Peak Discharge Current [A] @2s | 60 |  | Peak Discharge Current [A] @2s | 750
Ispc [A] (string peak current) | 20 |  | Ispc [A] (string peak current) | 60 |  | Ispc [A] (string peak current) | 750
Ibpp[A] (battery pack pack current) | 7420 |  | Ibpp[A] (battery pack pack current) | 7440 |  | Ibpp[A] (battery pack pack current) | 18750
Pbpp [W] (battery pack peak power) | 5565000 | 5565 | Pbpp [W] (battery pack peak power) | 5580000 | 5580 | Pbpp [W] (battery pack peak power) | 14062500 | 14062.5
Iscc [A] (string continuous current) (charge) | 3 |  | Iscc [A] (string continuous current) (charge) | 5 |  | Iscc [A] (string continuous current) (charge) | 128
Ibpc[A] (battery pack continuous current) (charge) | 1113 |  | Ibpc[A] (battery pack continuous current) (charge) | 620 |  | Ibpc[A] (battery pack continuous current) (charge) | 3200
Pbpc[W] (battery pack continuous power) (charge) | 834750 |  | Pbpc[W] (battery pack continuous power) (charge) | 465000 |  | Pbpc[W] (battery pack continuous power) (charge) | 2400000
Iscc [A] (string continuous current) (discharge) | 5 |  | Iscc [A] (string continuous current) (discharge) | 30 |  | Iscc [A] (string continuous current) (discharge) | 128
Ibpc[A] (battery pack continuous current) (discharge) | 1855 |  | Ibpc[A] (battery pack continuous current) (discharge) | 3720 |  | Ibpc[A] (battery pack continuous current) (discharge) | 3200
Pbpc[W] (battery pack continuous power) (discharge) | 1391.25 |  | Pbpc[W] (battery pack continuous power) (discharge) | 2790 |  | Pbpc[W] (battery pack continuous power) (discharge) | 2400
| 1.3913 |  |  | 2.79 |  |  | 2.4
Note on C36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.
Note on F36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.
Note on I36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.

## LFP
Batería | URB1270 | Batería | PSL-SC-12500 | Batería | U27-36XP
Marca | Ultralife | Marca | PowerSonic | Marca | Valence
Tecnología | LFP | Tecnología | LFP | Tecnología | LFP
Energy Density [Wh/kg] | 97 | Energy Density [Wh/kg] | 101.5873 | Energy Density [Wh/kg] | 102
Battery Cell Weight min [kg] | 0.9 | Battery Cell Weight [kg] | 6.3 | Battery Cell Weight [kg] | 18.7
Battery Cell Weight max [kg] | 1.1
Energy min [Wh] | 87.3
Energy max [Wh] | 106.7 | Energy [Wh] | 640 | Energy [Wh] | 1920 | Motor Main Diesel Cat3516B
Length [mm] | 152 | Length [mm] | 197 | Length [mm] | 306 | Dim A (mm) | 5957
Width [mm] | 65 | Width [mm] | 166 | Width [mm] | 172 | Dim B (mm) | 2286
Thickness [mm] | 92 | Thickness [mm] | 171 | Thickness [mm] | 225 | Dim C (mm) | 2494
Volume [m3] | 0.00090896 | Volume [L] | 5.592 | Volume [L] | 11.8422 | Vdiesel (mm3) | 33962548788
[6 empty] | Vdiesel (m3) | 33.963
[6 empty] | Vdiesel (L) | 33963
[6 empty] | mdiesel (kg) | 13750
Batería |  | Batería |  | Batería
Ubp [V] (Battery pack voltage) | 750 | Ubp [V] (Battery pack voltage) | 750 | Ubp [V] (Battery pack voltage) | 750 | Battery Pack DAMEN ASD TUG 2810
Ubc [V] (Baterry cell voltage) | 12.8 | Ubc [V] (Baterry cell voltage) | 12.8 | Ubc [V] (Baterry cell voltage) | 38.4 | Total number | 140
Nsc [-] (Number of cell in string) | 59 | Nsc [-] (Number of cell in string) | 59 | Nsc [-] (Number of cell in string) | 20 | Vbatt (L) | 1657.908
Ebc [Wh] (Energy of a baterry cell) | 97 | Ebc [Wh] (Energy of a baterry cell) | 640 | Ebc [Wh] (Energy of a baterry cell) | 1920 | mbatt( kg) | 2618
Ebs [Wh] (Energy of a String) | 5723 | Ebs [Wh] (Energy of a String) | 37760 | Ebs [Wh] (Energy of a String) | 38400 | Gen Set
Ebp [Wh] (Battery pack total energy) | 2800000 | Ebp [Wh] (Battery pack total energy) | 2800000 | Ebp [Wh] (Battery pack total energy) | 2800000 | mgenset( kg) | 2600
Nsb [-] (Number of strings in a battery pack) | 490 | Nsb [-] (Number of strings in a battery pack) | 75 | Nsb [-] (Number of strings in a battery pack) | 73 | Vgenset (L) | 3801.63
Cbc [Ah] (Battery cell capacity) | 7.6 | Cbc [Ah] (Battery cell capacity) | 50 | Cbc [Ah] (Battery cell capacity) | 50
Cbp [Ah] (Battery pack capacity) | 3724 | Cbp [Ah] (Battery pack capacity) | 3750 | Cbp [Ah] (Battery pack capacity) | 3650 | Rupanco TUG
Nbp [-] (Number of cells of the battery pack) | 28910 | Nbp [-] (Number of cells of the battery pack) | 4425 | Nbp [-] (Number of cells of the battery pack) | 1460 | Gross Tonnage (L) | 761808
[6 empty] | Net Tonage (L) | 228542.4 | 228.5424
mbc [kg] (mass of each battery cell) | 1 | mbc [kg] (mass of each battery cell) | 6.3 | mbc [kg] (mass of each battery cell) | 18.7 | Deadweight (kg) | 220000
mbp [kg] (battery mass pack) | 28910 | mbp [kg] (battery mass pack) | 27877.5 | mbp [kg] (battery mass pack) | 27302
Vbc [m3] (volume of each cell) | 0.00090896 | Vbc [m3] (volume of each cell) | 0.00559 | Vbc [m3] (volume of each cell) | 0.01184
Vbp [m3] (volume of the battery pack) | 26.278 | Vbp [m3] (volume of the battery pack) | 24.7358 | Vbp [m3] (volume of the battery pack) | 17.2864
C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 1 | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 1 | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 1
C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1.9737 | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1 | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1
C-rate_bcp[1/h] (peak C-rate of the battery cell) | 7.2368 | C-rate_bcp[1/h] (peak C-rate of the battery cell) | 2.8 | C-rate_bcp[1/h] (peak C-rate of the battery cell) | 3
Charge Current [A] | 7.6 | Charge Current [A] | 50 | Charge Current [A] | 50
Constant Discharge Current [A] | 15 | Constant Discharge Current [A] | 50 | Constant Discharge Current [A] | 50
Peak Discharge Current [A] @2s | 55 | Peak Discharge Current [A] @2s | 140 | Peak Discharge Current [A] @2s | 150
Ispc [A] (string peak current) | 55 | Ispc [A] (string peak current) | 140 | Ispc [A] (string peak current) | 150
Ibpp[A] (battery pack pack current) | 26950 | Ibpp[A] (battery pack pack current) | 10500 | Ibpp[A] (battery pack pack current) | 10950
Pbpp [kW] (battery pack peak power) | 20212.5 | Pbpp [kW] (battery pack peak power) | 7875 | Pbpp [kW] (battery pack peak power) | 8212.5
Iscc [A] (string continuous current) (charge) | 7.6 | Iscc [A] (string continuous current) (charge) | 50 | Iscc [A] (string continuous current) (charge) | 50
Ibpc[A] (battery pack continuous current) (charge) | 3724 | Ibpc[A] (battery pack continuous current) (charge) | 3750 | Ibpc[A] (battery pack continuous current) (charge) | 3650
Pbpc[W] (battery pack continuous power) (charge) | 2793 | Pbpc[W] (battery pack continuous power) (charge) | 2812.5 | Pbpc[W] (battery pack continuous power) (charge) | 2737.5
Iscc [A] (string continuous current) (discharge) | 15 | Iscc [A] (string continuous current) (discharge) | 50 | Iscc [A] (string continuous current) (discharge) | 50
Ibpc[A] (battery pack continuous current) (discharge) | 7350 | Ibpc[A] (battery pack continuous current) (discharge) | 3750 | Ibpc[A] (battery pack continuous current) (discharge) | 3650
Pbpc[kW] (battery pack continuous power) (discharge) | 5512.5 | Pbpc[kW] (battery pack continuous power) (discharge) | 2812.5 | Pbpc[kW] (battery pack continuous power) (discharge) | 2737.5
Note on C36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.
Note on G36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.
Note on K36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.

## LTO
Batería | SLB12400L151 |  | Batería | SLB08115L140 | Batería | ELB 1500mAh LTO
Marca | Nichicon |  | Marca | Nichicon | Marca | Eco Lotithium Battery
Tecnología | LTO |  | Tecnología | LTO | Tecnología | LTO
[5 empty] | Energy Density [Wh/L] | 212.8906
Energy Density [Wh/L] | 73 |  | Energy Density [Wh/L] | 58 | Energy Density [Wh/kg] | 78.2609
Weight [kg] | 0.09 |  | Weight [kg] | 0.0012 | Weight [kg] | 0.046
Energy Density [Wh/kg] | 4 |  | Energy Density [Wh/Kg] | 28
Energy [Wh] | 0.36 |  | Energy [Wh] | 0.0336
[5 empty] | Energy [Wh] | 3.6
Diam [mm] | 12.5 |  | Diam [mm] | 8 | Radio [mm] | 9.1
Height [mm] | 40 |  | Height [mm] | 11.5 | Height [mm] | 65
Volume [L] | 0.019635 |  | Volume [L] | 0.0023122 | Volume [L] | 0.01691
Batería |  |  | Batería |  | Batería
Ubp [V] (Battery pack voltage) | 750 |  | Ubp [V] (Battery pack voltage) | 750 | Ubp [V] (Battery pack voltage) | 750
Ubc [V] (Baterry cell voltage) | 2.4 |  | Ubc [V] (Baterry cell voltage) | 2.4 | Ubc [V] (Baterry cell voltage) | 2.3
Nsc [-] (Number of cell in string) | 313 |  | Nsc [-] (Number of cell in string) | 313 | Nsc [-] (Number of cell in string) | 327
Ebc [Wh] (Energy of a baterry cell) | 0.36 |  | Ebc [Wh] (Energy of a baterry cell) | 0.0336 | Ebc [Wh] (Energy of a baterry cell) | 3.6
Ebs [Wh] (Energy of a String) | 112.68 |  | Ebs [Wh] (Energy of a String) | 10.5168 | Ebs [Wh] (Energy of a String) | 1177.2
Ebp [Wh] (Battery pack total energy) | 2800000 |  | Ebp [Wh] (Battery pack total energy) | 2800000 | Ebp [Wh] (Battery pack total energy) | 2800000
Nsb [-] (Number of strings in a battery pack) | 24850 |  | Nsb [-] (Number of strings in a battery pack) | 266241 | Nsb [-] (Number of strings in a battery pack) | 2379
Cbc [Ah] (Battery cell capacity) | 0.15 |  | Cbc [Ah] (Battery cell capacity) | 0.014 | Cbc [Ah] (Battery cell capacity) | 1.5
Cbp [Ah] (Battery pack capacity) | 3727.5 |  | Cbp [Ah] (Battery pack capacity) | 3727.374 | Cbp [Ah] (Battery pack capacity) | 3568.5
Nbp [-] (Number of cells of the battery pack) | 7778050 |  | Nbp [-] (Number of cells of the battery pack) | 83333433 | Nbp [-] (Number of cells of the battery pack) | 777933
mbc [kg] (mass of each battery cell) | 0.09 |  | mbc [kg] (mass of each battery cell) | 0.0012 | mbc [kg] (mass of each battery cell) | 0.046
mbp [kg] (battery mass pack) | 700024.5 |  | mbp [kg] (battery mass pack) | 100000.1196 | mbp [kg] (battery mass pack) | 35784.918
Vbc [m3] (volume of each cell) | 1.9635e-05 |  | Vbc [m3] (volume of each cell) | 2.3122e-06 | Vbc [m3] (volume of each cell) | 1.691e-05
Vbp [m3] (volume of the battery pack) | 152.7217 |  | Vbp [m3] (volume of the battery pack) | 192.6846 | Vbp [m3] (volume of the battery pack) | 13.1549
C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 1 |  | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 1 | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 2
C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1 |  | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 0.5 | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1
C-rate_bcp[1/h] (peak C-rate of the battery cell) | 20 |  | C-rate_bcp[1/h] (peak C-rate of the battery cell) | 20 | C-rate_bcp[1/h] (peak C-rate of the battery cell) | 8
Charge Current [A] | 0.15 |  | Charge Current [A] | 0.014 | Charge Current [A] | 3
Constant Discharge Current [A] | 0.15 |  | Constant Discharge Current [A] | 0.007 | Constant Discharge Current [A] | 1.5
Peak Discharge Current [A] @2s | 3 |  | Peak Discharge Current [A] @2s | 0.28 | Peak Discharge Current [A] @2s | 12
Ispc [A] (string peak current) | 3 |  | Ispc [A] (string peak current) | 0.28 | Ispc [A] (string peak current) | 12
Ibpp[A] (battery pack pack current) | 74550 | 74.55 | Ibpp[A] (battery pack pack current) | 74547.48 | Ibpp[A] (battery pack pack current) | 28548 | 28.548
Pbpp [kW] (battery pack peak power) | 55912.5 | 55.9125 | Pbpp [kW] (battery pack peak power) | 55910.61 | Pbpp [kW] (battery pack peak power) | 21411 | 21.411
Iscc [A] (string continuous current) (charge) | 0.15 |  | Iscc [A] (string continuous current) (charge) | 0.014 | Iscc [A] (string continuous current) (charge) | 3
Ibpc[A] (battery pack continuous current) (charge) | 3727.5 |  | Ibpc[A] (battery pack continuous current) (charge) | 3727.374 | Ibpc[A] (battery pack continuous current) (charge) | 7137
Pbpc[W] (battery pack continuous power) (charge) | 2795.625 |  | Pbpc[W] (battery pack continuous power) (charge) | 2795.5305 | Pbpc[W] (battery pack continuous power) (charge) | 5352.75
Iscc [A] (string continuous current) (discharge) | 0.15 |  | Iscc [A] (string continuous current) (discharge) | 0.007 | Iscc [A] (string continuous current) (discharge) | 1.5
Ibpc[A] (battery pack continuous current) (discharge) | 3727.5 | 3.7275 | Ibpc[A] (battery pack continuous current) (discharge) | 1863.687 | Ibpc[A] (battery pack continuous current) (discharge) | 3568.5 | 3.5685
Pbpc[kW] (battery pack continuous power) (discharge) | 2795.625 | 2.7956 | Pbpc[kW] (battery pack continuous power) (discharge) | 1397.7652 | Pbpc[kW] (battery pack continuous power) (discharge) | 2676.375 | 2.6764
Note on C36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.
Note on G36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.
Note on K36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.

## Radar_Plot
Baterías NMC (LiNiMnCo02) |  |  |  |  | Baterías LFP (LiFePO4) |  |  |  |  | Baterías LTO (Li2TiO3) |  |  |  |  | Baterías Ion Litio |  |  |  |  | Baterías Ion Litio
| AEGIS1 | AEGIS2 | Corvus Energy | NMC |  | Ultralife | PowerSonic | Valence | LFP |  | Nichicon 1 | Nichicon 2 | ECO Lithium | LTO |  | NMC | LFP | LTO | Avg |  | NMC | LFP | Avg
Ciclos de Vida | 1000 | 1000 | 2000 | 1333.3333 | Ciclos de Vida | 1500 | 2000 | 4000 | 2500 | Ciclos de Vida | 20000 | 10000 | 10000 | 13333.3333 | Life cycles [-] | 1333.3333 | 2500 | 13333.3333 | 5722.2222 | Life cycles [-] | 1333.3333 | 2500 | 1916.6667
Celdas Totales | 23373 | 7812 | 6600 | 12595 | Celdas Totales | 28910 | 4425 | 1460 | 11598.3333 | Celdas Totales | 7778050 | 83333433 | 777933 | 30629805.3333 | Cells [-] | 12595 | 11598.3333 | 30629805.3333 | 10217999.5556 | Cells [-] | 12595 | 11598.3333 | 12096.6667
Weight [kg] | 18698.4 | 16405.2 | 3143 | 12748.8667 | Weight [kg] | 28910 | 27877.5 | 27302 | 28029.8333 | Weight [kg] | 700024.5 | 100000.1196 | 35784.918 | 278603.1792 | Weight [kg] | 12748.8667 | 28029.8333 | 278603.1792 | 106460.6264 | Weight [kg] | 12748.8667 | 28029.8333 | 20389.35
Volume [m3] | 11.4528 | 8.8041 | 28.1086 | 16.1218 | Volume [m3] | 26.278 | 24.7358 | 17.2864 | 22.7667 | Volume [m3] | 152.7217 | 192.6846 | 13.1549 | 119.5204 | Volume [m3] | 16.1218 | 22.7667 | 119.5204 | 52.803 | Volume [m3] | 16.1218 | 22.7667 | 19.4443
Power Discharge [kW] | 1391.25 | 2790 | 2400 | 2193.75 | Power Discharge [kW] | 5512.5 | 2812.5 | 2737.5 | 3687.5 | Power Discharge [kW] | 2795.625 | 1397.7652 | 2676.375 | 2289.9217 | Power Discharge [kW] | 2193.75 | 3687.5 | 2289.9217 | 2723.7239 | Power Discharge [kW] | 2193.75 | 3687.5 | 2940.625
Porcentajes Baterías NMC (LiNiMnCo02) |  |  |  |  | Porcentajes Baterías LFP (LiFePO4) |  |  |  |  | Porcentajes Baterías LTO (Li2TiO3) |  |  |  |  | Baterías Ion Litio |  |  |  |  | Baterías Ion Litio
| AEGIS1 | AEGIS2 | Corvus Energy | NMC |  | Ultralife | PowerSonic | Valence | LFP |  | Nichicon 1 | Nichicon 2 | ECO Lithium | LTO |  | NMC | LFP | LTO | Avg |  | NMC | LFP | Avg
Ciclos de Vida | 0.5 | 0.5 | 1 | 0.66667 | Ciclos de Vida | 0.375 | 0.5 | 1 | 0.625 | Ciclos de Vida | 1 | 0.5 | 0.5 | 0.66667 | Life cycles [-] | 0.1 | 0.1875 | 1 |  | Life cycles [-] | 0.53333 | 1
Celdas Totales | 1 | 0.33423 | 0.28238 | 0.53887 | Celdas Totales | 1 | 0.15306 | 0.050502 | 0.40119 | Celdas Totales | 0.093336 | 1 | 0.0093352 | 0.36756 | Cells [-] | 0.0004112 | 0.00037866 | 1 |  | Cells [-] | 1 | 0.92087
Weight [kg] | 1 | 0.87736 | 0.16809 | 0.68182 | Weight [kg] | 1 | 0.96429 | 0.94438 | 0.96955 | Weight [kg] | 1 | 0.14285 | 0.05112 | 0.39799 | Weight [kg] | 0.04576 | 0.10061 | 1 |  | Weight [kg] | 0.45483 | 1
Volume [m3] | 0.40745 | 0.31322 | 1 | 0.57356 | Volume [m3] | 1 | 0.94131 | 0.65783 | 0.86638 | Volume [m3] | 0.7926 | 1 | 0.068272 | 0.62029 | Volume [m3] | 0.13489 | 0.19048 | 1 |  | Volume [m3] | 0.70813 | 1
Power Discharge [kW] | 0.49866 | 1 | 0.86022 | 0.78629 | Power Discharge [kW] | 1 | 0.5102 | 0.4966 | 0.66893 | Power Discharge [kW] | 1 | 0.49998 | 0.95734 | 0.81911 | Power Discharge [kW] | 0.59492 | 1 | 0.621 |  | Power Discharge [kW] | 0.59492 | 1