## 1m_25%
Battery Sizing
Pot _ 100% [kW] | Use Time | Time | Pot [%] | Pot_nom[kW] | Energy Batt [kWh]
3650 | 0.5 | 8 | 0 | 0 | 0
|  | 8.5 | 0 | 0 | 0
|  | 9 | 0.05 | 182.5 | 91.25 | 233.9744
|  | 9.5 | 0.05 | 182.5 | 91.25
|  | 10 | 0.25 | 912.5 | 456.25 | 1169.8718 | 935.8974
|  | 10.5 | 0.25 | 912.5 | 456.25
|  | 11 | 0.35 | 1277.5 | 0
|  | 11.5 | 0.55 | 2007.5 | 0
|  | 12 | 0.95 | 3467.5 | 0
|  | 12.5 | 0.55 | 2007.5 | 0
|  | 13 | 0.55 | 2007.5 | 0
|  | 13.5 | 0.35 | 1277.5 | 0
|  | 14 | 0.25 | 912.5 | 456.25
|  | 14.5 | 0.25 | 912.5 | 456.25
|  | 15 | 0.15 | 547.5 | 273.75 | 701.9231 | -467.9487
|  | 15.5 | 0.15 | 547.5 | 273.75
|  | 16 | 0.1 | 365 | 182.5 | 467.9487 | -233.9744
|  | 16.5 | 0.1 | 365 | 182.5
|  | 17 | 0.05 | 182.5 | 91.25 | 233.9744 | -233.9744
|  | 17.5 | 0.05 | 182.5 | 91.25
|  | 18 | 0 | 0 | 0
|  | Total |  |  | 3102.5

## 2m_25%
Pot _ 100% [kW] | Use Time | Time | Pot [%] | Pot [kW] | Energy Batt [kWh]
3650 | 0.5 | 8 | 0 | 0 | 0
|  | 8.5 | 0.1 | 365 | 182.5 | 467.9487
|  | 9 | 0.25 | 912.5 | 456.25 | 1169.8718 | 701.9231
|  | 9.5 | 0.4 | 1460 | 0
|  | 10 | 0.95 | 3467.5 | 0
|  | 10.5 | 0.75 | 2737.5 | 0
|  | 11 | 0.35 | 1277.5 | 0
|  | 11.5 | 0.15 | 547.5 | 273.75 | 701.9231 | -467.9487
|  | 12 | 0.05 | 182.5 | 91.25 | 233.9744 | -467.9487
|  | 12.5 | 0 | 0 | 0
|  | 13 | 0 | 0 | 0
|  | 13.5 | 0 | 0 | 0
|  | 13.9954 | 0.05 | 182.5 | 91.25
|  | 14.5 | 0.15 | 547.5 | 273.75 | 701.9231 | 467.9487
|  | 14.995 | 0.25 | 912.5 | 456.25 | 1169.8718 | 467.9487
|  | 15.5 | 0.35 | 1277.5 | 0
|  | 15.9946 | 0.95 | 3467.5 | 0
|  | 16.5 | 0.7 | 2555 | 0
|  | 16.9943 | 0.45 | 1642.5 | 0
|  | 17.5 | 0.3 | 1095 | 0
|  | 17.9939 | 0 | 0 | 0
|  | Total |  |  | 1825

## EnergyDemand_25%
E_load | Energy Required by the load profile (kWh) | 3294.5 | P_batt (kW) | 1000
k_aging | Battery Aging factor (over-sizing for end-of-life) (%) | 0.8 | C-rate | 0.30354
DOD_max | Maximum allowable Depth of Discharge (%) | 0.8
n_sys | System efficiency (path from the battery to propeller) (%) | 0.88
k_temp | Temperature correction factor (-) | 1.05
k_c-rate | Capacity rating factor (-) | 1
E_de | Equivalent Energy Demand (kWh) | 6142.0898
E_batt_out |  | 3750
E_BOL |  | 4687.5
E_EOL |  | 5859.375
E_final |  | 6152.3438

## NMC
Batería | ABL-012010P | Batería | ABL-012030P | Batería | E4050T1 | Baterías NMC (LiNiMnCo02)
Marca | Aegis Battery | Marca | Aegis Battery | Marca | Corvus Energy |  | AEGIS1 | AEGIS2 | Corvus Energy | Avg
Tecnología | NMC | Tecnología | NMC | Tecnología | NMC | Ciclos de Vida | 1000 | 1000 | 2000 | 1333.3333
[6 empty] | Celdas Totales | 52542 | 17514 | 14784 | 28280
Energy Density [Wh/kg] | 150 | Energy Density [Wh/kg] | 171.4286 | Energy Density [Wh/kg] | 891.7298 | Specific energy [Wh/kg] | 150 | 171.4286 | 891.7298 | 404.3861
Weight [kg] | 0.8 | Weight [kg] | 2.1 | Weight [kg] | 0.48 | Volume density [Wh/L] | 244.898 | 319.4321 | 225.1251 | 263.1517
Energy Density [Wh/L] | 244.898 | Energy Density [Wh/L] | 319.4321 | Energy Density [Wh/L] | 225.1251 | Power Discharge [kW] | 3.1275 | 6.255 | 5.376 | 4.9195
Energy [Wh] | 120 | Energy [Wh] | 360
Length [mm] | 100 | Length [mm] | 230
Width [mm] | 70 | Width [mm] | 70
Thickness [mm] | 70 | Thickness [mm] | 70
Volume [L] | 0.49 | Volume [L] | 1.127 | Volume [L] | 1.9013
Batería |  | Batería |  | Batería
Ubp [V] (Battery pack voltage) | 750 | Ubp [V] (Battery pack voltage) | 750 | Ubp [V] (Battery pack voltage) | 750
Ubc [V] (Baterry cell voltage) | 12 | Ubc [V] (Baterry cell voltage) | 12 | Ubc [V] (Baterry cell voltage) | 2.8409
Nsc [-] (Number of cell in string) | 63 | Nsc [-] (Number of cell in string) | 63 | Nsc [-] (Number of cell in string) | 264
Ebc [Wh] (Energy of a baterry cell) | 120 | Ebc [Wh] (Energy of a baterry cell) | 360 | Ebc [Wh] (Energy of a baterry cell) | 428.0303
Ebs [Wh] (Energy of a String) | 7560 | Ebs [Wh] (Energy of a String) | 22680 | Ebs [Wh] (Energy of a String) | 113000
Ebp [Wh] (Battery pack total energy) | 6300000 | Ebp [Wh] (Battery pack total energy) | 6300000 | Ebp [Wh] (Battery pack total energy) | 6300000
Nsb [-] (Number of strings in a battery pack) | 834 | Nsb [-] (Number of strings in a battery pack) | 278 | Nsb [-] (Number of strings in a battery pack) | 56
Cbc [Ah] (Battery cell capacity) | 10 | Cbc [Ah] (Battery cell capacity) | 30 | Cbc [Ah] (Battery cell capacity) | 128
Cbp [Ah] (Battery pack capacity) | 8340 | Cbp [Ah] (Battery pack capacity) | 8340 | Cbp [Ah] (Battery pack capacity) | 7168
Nbp [-] (Number of cells of the battery pack) | 52542 | Nbp [-] (Number of cells of the battery pack) | 17514 | Nbp [-] (Number of cells of the battery pack) | 14784
mbc [kg] (mass of each battery cell) | 0.8 | mbc [kg] (mass of each battery cell) | 2.1 | mbc [kg] (mass of each battery cell) | 0.48
mbp [kg] (battery mass pack) | 42033.6 | mbp [kg] (battery mass pack) | 36779.4 | mbp [kg] (battery mass pack) | 7096.32
Vbc [m3] (volume of each cell) | 0.00049 | Vbc [m3] (volume of each cell) | 0.001127 | Vbc [m3] (volume of each cell) | 0.0019013
Vbp [m3] (volume of the battery pack) | 25.7456 | Vbp [m3] (volume of the battery pack) | 19.7383 | Vbp [m3] (volume of the battery pack) | 28.1088
C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 0.5 | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 0.5 | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 1
C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1 | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1 | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1
C-rate_bcp[1/h] (peak C-rate of the battery cell) | 3 | C-rate_bcp[1/h] (peak C-rate of the battery cell) | 3 | C-rate_bcp[1/h] (peak C-rate of the battery cell) | 3
Charge Current [A] | 3 | Charge Current [A] | 5 | Charge Current [A] | 128
Constant Discharge Current [A] | 5 | Constant Discharge Current [A] | 30 | Constant Discharge Current [A] | 128
Peak Discharge Current [A] @2s | 20 | Peak Discharge Current [A] @2s | 60 | Peak Discharge Current [A] @2s | 750
Ispc [A] (string peak current) | 20 | Ispc [A] (string peak current) | 60 | Ispc [A] (string peak current) | 750
Ibpp[A] (battery pack pack current) | 16680 | Ibpp[A] (battery pack pack current) | 16680 | Ibpp[A] (battery pack pack current) | 42000
Pbpp [kW] (battery pack peak power) | 12510 | Pbpp [kW] (battery pack peak power) | 12510 | Pbpp [kW] (battery pack peak power) | 31500
Iscc [A] (string continuous current) (charge) | 3 | Iscc [A] (string continuous current) (charge) | 5 | Iscc [A] (string continuous current) (charge) | 128
Ibpc[A] (battery pack continuous current) (charge) | 2502 | Ibpc[A] (battery pack continuous current) (charge) | 1390 | Ibpc[A] (battery pack continuous current) (charge) | 7168
Pbpc[W] (battery pack continuous power) (charge) | 1876500 | Pbpc[W] (battery pack continuous power) (charge) | 1042500 | Pbpc[W] (battery pack continuous power) (charge) | 5376000
Iscc [A] (string continuous current) (discharge) | 5 | Iscc [A] (string continuous current) (discharge) | 30 | Iscc [A] (string continuous current) (discharge) | 128
Ibpc[A] (battery pack continuous current) (discharge) | 4170 | Ibpc[A] (battery pack continuous current) (discharge) | 8340 | Ibpc[A] (battery pack continuous current) (discharge) | 7168
Pbpc[kW] (battery pack continuous power) (discharge) | 3127.5 | Pbpc[kW] (battery pack continuous power) (discharge) | 6255 | Pbpc[kW] (battery pack continuous power) (discharge) | 5376
Note on C36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.
Note on F36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.
Note on I36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.

## LFP
Baterías LFP (LiFePO4)
Batería | URB1270 | Batería | PSL-SC-12500 | Batería | U27-36XP |  |  |  | Ultralife | PowerSonic | Valence | Promedio LFP
Marca | Ultralife | Marca | PowerSonic | Marca | Valence |  |  | Ciclos de Vida | 1500 | 2000 | 4000 | 2500
Tecnología | LFP | Tecnología | LFP | Tecnología | LFP |  |  | Celdas | 64959 | 9853 | 3300 | 26037.3333
[8 empty] | Specific energy [Wh/kg] | 97 | 101.5873 | 102 | 100.1958
Energy Density [Wh/kg] | 97 | Energy Density [Wh/kg] | 101.5873 | Energy Density [Wh/kg] | 102 |  |  | Volume density [Wh/L] | 107 | 114.4484 | 162.132 | 127.8601
Battery Cell Weight min [kg] | 0.9 | Battery Cell Weight [kg] | 6.3 | Battery Cell Weight [kg] | 18.7 |  |  | Power Discharge [kW] | 12386.25 | 6262.5 | 6187.5 | 8278.75
Battery Cell Weight max [kg] | 1.1
Energy min [Wh] | 87.3
Energy max [Wh] | 106.7 | Energy [Wh] | 640 | Energy [Wh] | 1920 | Motor Main Diesel Cat3516B
Length [mm] | 152 | Length [mm] | 197 | Length [mm] | 306 | Dim A (mm) | 5957
Width [mm] | 65 | Width [mm] | 166 | Width [mm] | 172 | Dim B (mm) | 2286
Thickness [mm] | 92 | Thickness [mm] | 171 | Thickness [mm] | 225 | Dim C (mm) | 2494
Volume [m3] | 0.00090896 | Volume [L] | 5.592 | Volume [L] | 11.8422 | Vdiesel (mm3) | 33962548788
[6 empty] | Vdiesel (m3) | 33.963
[6 empty] | Vdiesel (L) | 33963
[6 empty] | mdiesel (kg) | 13750
Batería |  | Batería |  | Batería
Ubp [V] (Battery pack voltage) | 750 | Ubp [V] (Battery pack voltage) | 750 | Ubp [V] (Battery pack voltage) | 750 | Battery Pack DAMEN ASD TUG 2810
Ubc [V] (Baterry cell voltage) | 12.8 | Ubc [V] (Baterry cell voltage) | 12.8 | Ubc [V] (Baterry cell voltage) | 38.4 | Total number | 140
Nsc [-] (Number of cell in string) | 59 | Nsc [-] (Number of cell in string) | 59 | Nsc [-] (Number of cell in string) | 20 | Vbatt (L) | 1657.908
Ebc [Wh] (Energy of a baterry cell) | 97 | Ebc [Wh] (Energy of a baterry cell) | 640 | Ebc [Wh] (Energy of a baterry cell) | 1920 | mbatt( kg) | 2618
Ebs [Wh] (Energy of a String) | 5723 | Ebs [Wh] (Energy of a String) | 37760 | Ebs [Wh] (Energy of a String) | 38400 | Gen Set
Ebp [Wh] (Battery pack total energy) | 6300000 | Ebp [Wh] (Battery pack total energy) | 6300000 | Ebp [Wh] (Battery pack total energy) | 6300000 | mgenset( kg) | 2600
Nsb [-] (Number of strings in a battery pack) | 1101 | Nsb [-] (Number of strings in a battery pack) | 167 | Nsb [-] (Number of strings in a battery pack) | 165 | Vbatt (L) | 3801.63
Cbc [Ah] (Battery cell capacity) | 7.6 | Cbc [Ah] (Battery cell capacity) | 50 | Cbc [Ah] (Battery cell capacity) | 50
Cbp [Ah] (Battery pack capacity) | 8367.6 | Cbp [Ah] (Battery pack capacity) | 8350 | Cbp [Ah] (Battery pack capacity) | 8250 | Rupanco TUG
Nbp [-] (Number of cells of the battery pack) | 64959 | Nbp [-] (Number of cells of the battery pack) | 9853 | Nbp [-] (Number of cells of the battery pack) | 3300 | Gross Tonnage (L) | 761808
[6 empty] | Net Tonage (L) | 228542.4
mbc [kg] (mass of each battery cell) | 1 | mbc [kg] (mass of each battery cell) | 6.3 | mbc [kg] (mass of each battery cell) | 18.7 | Deadweight (kg) | 220000
mbp [kg] (battery mass pack) | 64959 | mbp [kg] (battery mass pack) | 62073.9 | mbp [kg] (battery mass pack) | 61710
Vbc [m3] (volume of each cell) | 0.00090896 | Vbc [m3] (volume of each cell) | 0.005592 | Vbc [m3] (volume of each cell) | 0.011842
Vbp [m3] (volume of the battery pack) | 59.0451 | Vbp [m3] (volume of the battery pack) | 55.0984 | Vbp [m3] (volume of the battery pack) | 39.0793
C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 1 | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 1 | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 1
C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1.9737 | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1 | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1
C-rate_bcp[1/h] (peak C-rate of the battery cell) | 7.2368 | C-rate_bcp[1/h] (peak C-rate of the battery cell) | 2.8 | C-rate_bcp[1/h] (peak C-rate of the battery cell) | 3
Charge Current [A] | 7.6 | Charge Current [A] | 50 | Charge Current [A] | 50
Constant Discharge Current [A] | 15 | Constant Discharge Current [A] | 50 | Constant Discharge Current [A] | 50
Peak Discharge Current [A] @2s | 55 | Peak Discharge Current [A] @2s | 140 | Peak Discharge Current [A] @2s | 150
Ispc [A] (string peak current) | 55 | Ispc [A] (string peak current) | 140 | Ispc [A] (string peak current) | 150
Ibpp[A] (battery pack pack current) | 60555 | Ibpp[A] (battery pack pack current) | 23380 | Ibpp[A] (battery pack pack current) | 24750
Pbpp [kW] (battery pack peak power) | 45416.25 | Pbpp [kW] (battery pack peak power) | 17535 | Pbpp [kW] (battery pack peak power) | 18562.5
Iscc [A] (string continuous current) (charge) | 7.6 | Iscc [A] (string continuous current) (charge) | 50 | Iscc [A] (string continuous current) (charge) | 50
Ibpc[A] (battery pack continuous current) (charge) | 8367.6 | Ibpc[A] (battery pack continuous current) (charge) | 8350 | Ibpc[A] (battery pack continuous current) (charge) | 8250
Pbpc[W] (battery pack continuous power) (charge) | 6275.7 | Pbpc[W] (battery pack continuous power) (charge) | 6262.5 | Pbpc[W] (battery pack continuous power) (charge) | 6187.5
Iscc [A] (string continuous current) (discharge) | 15 | Iscc [A] (string continuous current) (discharge) | 50 | Iscc [A] (string continuous current) (discharge) | 50
Ibpc[A] (battery pack continuous current) (discharge) | 16515 | Ibpc[A] (battery pack continuous current) (discharge) | 8350 | Ibpc[A] (battery pack continuous current) (discharge) | 8250
Pbpc[kW] (battery pack continuous power) (discharge) | 12386.25 | Pbpc[kW] (battery pack continuous power) (discharge) | 6262.5 | Pbpc[kW] (battery pack continuous power) (discharge) | 6187.5
Note on D25: ====== ID#AAABYWq4-Ho Leonardo Solis Zamora (2024-11-11 12:21:57) Perfil energético asumiendo los datos desprendidos del poster
Note on C36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.
Note on G36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.
Note on K36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.

## LTO
Batería | SLB12400L151 |  | Batería | SLB08115L140 |  | Batería | ELB 1500mAh LTO
Marca | Nichicon |  | Marca | Nichicon |  | Marca | Eco Lotithium Battery
Tecnología | LTO |  | Tecnología | LTO |  | Tecnología | LTO
[6 empty] | Energy Density [Wh/L] | 212.8906
Energy Density [Wh/L] | 73 |  | Energy Density [Wh/L] | 58 |  | Energy Density [Wh/kg] | 78.2609
Weight [kg] | 0.09 |  | Weight [kg] | 0.0012 |  | Weight [kg] | 0.046
Energy Density [Wh/kg] | 4 |  | Energy Density [Wh/Kg] | 28
Energy [Wh] | 0.36 |  | Energy [Wh] | 0.0336
[6 empty] | Energy [Wh] | 3.6
Diam [mm] | 12.5 |  | Diam [mm] | 8 |  | Radio [mm] | 9.1
Height [mm] | 40 |  | Height [mm] | 11.5 |  | Height [mm] | 65
Volume [L] | 0.019635 |  | Volume [L] | 0.0023122 |  | Volume [L] | 0.01691
Batería |  |  | Batería |  |  | Batería
Ubp [V] (Battery pack voltage) | 750 |  | Ubp [V] (Battery pack voltage) | 750 |  | Ubp [V] (Battery pack voltage) | 750
Ubc [V] (Baterry cell voltage) | 2.4 |  | Ubc [V] (Baterry cell voltage) | 2.4 |  | Ubc [V] (Baterry cell voltage) | 2.3
Ncs [-] (Number of cell in string) | 313 |  | Ncs [-] (Number of cell in string) | 313 |  | Nsc [-] (Number of cell in string) | 327
Ebc [Wh] (Energy of a baterry cell) | 0.36 |  | Ebc [Wh] (Energy of a baterry cell) | 0.0336 |  | Ebc [Wh] (Energy of a baterry cell) | 3.6
Ebs [Wh] (Energy of a String) | 112.68 |  | Ebs [Wh] (Energy of a String) | 10.5168 |  | Ebs [Wh] (Energy of a String) | 1177.2
Ebp [Wh] (Battery pack total energy) | 6300000 |  | Ebp [Wh] (Battery pack total energy) | 6300000 |  | Ebp [Wh] (Battery pack total energy) | 6300000
Nsb [-] (Number of strings in a battery pack) | 55911 |  | Nsb [-] (Number of strings in a battery pack) | 599042 |  | Nsb [-] (Number of strings in a battery pack) | 5352
Cbc [Ah] (Battery cell capacity) | 0.15 |  | Cbc [Ah] (Battery cell capacity) | 0.014 |  | Cbc [Ah] (Battery cell capacity) | 1.5
Cbp [Ah] (Battery pack capacity) | 8386.65 |  | Cbp [Ah] (Battery pack capacity) | 8386.588 |  | Cbp [Ah] (Battery pack capacity) | 8028
Ncb [-] (Number of cells of the battery pack) | 17500143 |  | Ncb [-] (Number of cells of the battery pack) | 187500146 |  | Nbp [-] (Number of cells of the battery pack) | 1750104
mbc [kg] (mass of each battery cell) | 0.09 |  | mbc [kg] (mass of each battery cell) | 0.0012 |  | mbc [kg] (mass of each battery cell) | 0.046
mbp [kg] (battery mass pack) | 1575012.87 |  | mbp [kg] (battery mass pack) | 225000.1752 |  | mbp [kg] (battery mass pack) | 80504.784
Vcc(pc) [m3] (volume of each cell) | 0.00019635 |  | Vcc(pc) [m3] (volume of each cell) | 2.3122e-06 |  | Vbc [m3] (volume of each cell) | 1.691e-05
Vbp [m3] (volume of the battery pack) | 3436.145 |  | Vbp [m3] (volume of the battery pack) | 433.5401 |  | Vbp [m3] (volume of the battery pack) | 29.5944
C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 1 |  | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 1 |  | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(charge) | 2
C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1 |  | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 0.5 |  | C-rate_bcc[1/h] (continuous C-rate of the battery cell)(discharge) | 1
C-rate_bcp[1/h] (peak C-rate of the battery cell) | 20 |  | C-rate_bcp[1/h] (peak C-rate of the battery cell) | 20 |  | C-rate_bcp[1/h] (peak C-rate of the battery cell) | 8
Charge Current [A] | 0.15 |  | Charge Current [A] | 0.014 |  | Charge Current [A] | 3
Constant Discharge Current [A] | 0.15 |  | Constant Discharge Current [A] | 0.007 |  | Constant Discharge Current [A] | 1.5
Peak Discharge Current [A] @ 1s | 3 |  | Peak Discharge Current [A] @ 1s | 0.28 |  | Peak Discharge Current [A] @2s | 12
Ispc [A] (string peak current) | 3 |  | Ispc [A] (string peak current) | 0.28 |  | Ispc [A] (string peak current) | 12
Ibpp[A] (battery pack pack current) | 167733 | 167.733 | Ibpp[A] (battery pack pack current) | 167731.76 | 167.7318 | Ibpp[A] (battery pack pack current) | 64224 | 64.224
Pbpp [kW] (battery pack peak power) | 125799.75 | 125.7998 | Pbpp [kW] (battery pack peak power) | 125798.82 | 125.7988 | Pbpp [kW] (battery pack peak power) | 48168 | 48.168
Iscc [A] (string continuous current) (charge) | 0.15 |  | Iscc [A] (string continuous current) (charge) | 0.014 |  | Iscc [A] (string continuous current) (charge) | 3
Ibpc[A] (battery pack continuous current) (charge) | 8386.65 |  | Ibpc[A] (battery pack continuous current) (charge) | 8386.588 |  | Ibpc[A] (battery pack continuous current) (charge) | 16056
Pbpc[kW] (battery pack continuous power) (charge) | 6289.9875 |  | Pbpc[kW] (battery pack continuous power) (charge) | 6289.941 |  | Pbpc[W] (battery pack continuous power) (charge) | 12042
Iscc [A] (string continuous current) (discharge) | 0.15 |  | Iscc [A] (string continuous current) (discharge) | 0.007 |  | Iscc [A] (string continuous current) (discharge) | 1.5
Ibpc[A] (battery pack continuous current) (discharge) | 8386.65 | 8.3866 | Ibpc[A] (battery pack continuous current) (discharge) | 4193.294 | 4.1933 | Ibpc[A] (battery pack continuous current) (discharge) | 8028 | 8.028
Pbpc[kW] (battery pack continuous power) (discharge) | 6289.9875 | 6.29 | Pbpc[kW] (battery pack continuous power) (discharge) | 3144.9705 | 3.145 | Pbpc[kW] (battery pack continuous power) (discharge) | 6021 | 6.021
Note on C36: ====== ID#AAABYWq4-Hg Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.
Note on G36: ====== ID#AAABYWq4-H8 Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.
Note on K36: ====== ID#AAABYWq4-HE Leonardo Solis Zamora (2024-11-11 12:21:57) https://www.ecolithiumbattery.com/battery-c-rating/#:~:text=So%20different%20material%20battery%20will,3C%20about%20LiFePO4%20prismatic%20battery.

## Radar_Plot
Baterías NMC (LiNiMnCo02) |  |  |  |  | Baterías LFP (LiFePO4) |  |  |  |  | Baterías LTO (Li2TiO3) |  |  |  |  | Baterías Ion Litio |  |  |  |  | Baterías Ion Litio
| AEGIS1 | AEGIS2 | Corvus Energy | NMC |  | Ultralife | PowerSonic | Valence | LFP |  | Nichicon 1 | Nichicon 2 | ECO Lithium | LTO |  | NMC | LFP | LTO | Avg |  | NMC | LFP | Avg
Ciclos de Vida | 1000 | 1000 | 2000 | 1333.3333 | Ciclos de Vida | 1500 | 2000 | 4000 | 2500 | Ciclos de Vida | 20000 | 10000 | 10000 | 13333.3333 | Ciclos de Vida | 1333.3333 | 2500 | 13333.3333 | 5722.2222 | Ciclos de Vida | 1333 | 2500 | 1916.5
Celdas Totales | 52542 | 17514 | 14784 | 28280 | Celdas Totales | 64959 | 9853 | 3300 | 26037.3333 | Celdas Totales | 17500143 | 187500146 | 1750104 | 68916797.6667 | Celdas Totales | 28280 | 26037.3333 | 68916797.6667 | 22990371.6667 | Celdas Totales | 28280 | 26037.3333 | 27158.6667
Weight [kg] | 42033.6 | 36779.4 | 7096.32 | 28636.44 | Weight [kg] | 64959 | 62073.9 | 61710 | 62914.3 | Weight [kg] | 1575012.87 | 225000.1752 | 80504.784 | 626839.2764 | Weight [kg] | 28636.44 | 62914.3 | 626839.2764 | 239463.3388 | Weight [kg] | 28636.44 | 62914.3 | 45775.37
Volume [m3] | 25.7456 | 19.7383 | 28.1088 | 24.5309 | Volume [m3] | 59.0451 | 55.0984 | 39.0793 | 51.0743 | Volume [m3] | 3436.145 | 433.5401 | 29.5944 | 1299.7599 | Volume [m3] | 24.5309 | 51.0743 | 1299.7599 | 458.455 | Volume [m3] | 24.5309 | 51.0743 | 37.8026
Power Discharge [kW] | 3127.5 | 6255 | 5376 | 4919.5 | Power Discharge [kW] | 12386.25 | 6262.5 | 6187.5 | 8278.75 | Power Discharge [kW] | 6289.9875 | 3144.9705 | 6021 | 5151.986 | Power Discharge [kW] | 4919.5 | 8278.75 | 5151.986 | 6116.7453 | Power Discharge [kW] | 4919.5 | 8278.75 | 6599.125
Porcentajes Baterías NMC (LiNiMnCo02) |  |  |  |  | Porcentajes Baterías LFP (LiFePO4) |  |  |  |  | Porcentajes Baterías LTO (Li2TiO3) |  |  |  |  | Baterías Ion Litio |  |  |  |  | Baterías Ion Litio
| AEGIS1 | AEGIS2 | Corvus Energy | NMC |  | Ultralife | PowerSonic | Valence | LFP |  | Nichicon 1 | Nichicon 2 | ECO Lithium | LTO |  | NMC | LFP | LTO | Avg |  | NMC | LFP | Avg
Ciclos de Vida | 0.5 | 0.5 | 1 | 0.66667 | Ciclos de Vida | 0.375 | 0.5 | 1 | 0.625 | Ciclos de Vida | 1 | 0.5 | 0.5 | 0.66667 | Ciclos de Vida | 0.1 | 0.1875 | 1 |  | Ciclos de Vida | 0.5332 | 1 | 0.7666
Celdas Totales | 1 | 0.33333 | 0.28137 | 0.53824 | Celdas Totales | 1 | 0.15168 | 0.050801 | 0.40083 | Celdas Totales | 0.093596 | 1 | 0.037328 | 0.37697 | Celdas Totales | 0.00041035 | 0.00037781 | 1 |  | Celdas Totales | 1 | 0.9207 | 0.96035
Weight [kg] | 1 | 0.875 | 0.16882 | 0.68127 | Weight [kg] | 1 | 0.95559 | 0.94998 | 0.96852 | Specific energy [Wh/kg] | 0.14251 | 1 | 0.70028 | 0.61426 | Weight [kg] | 0.045684 | 0.10037 | 1 |  | Weight [kg] | 0.45517 | 1 | 0.72758
Volume [m3] | 0.91593 | 0.70221 | 1 | 0.87271 | Volume [m3] | 1 | 0.93316 | 0.66185 | 0.865 | Volume density [Wh/L] | 1 | 0.14286 | 0.051114 | 0.39799 | Volume [m3] | 0.018873 | 0.039295 | 1 |  | Volume [m3] | 0.4803 | 1 | 0.74015
Power Discharge [kW] | 0.5 | 1 | 0.85947 | 0.78649 | Power Discharge [kW] | 1 | 0.5056 | 0.49955 | 0.66838 | Power Discharge [kW] | 1 | 0.5 | 0.95724 | 0.81908 | Power Discharge [kW] | 0.59423 | 1 | 0.62231 |  | Power Discharge [kW] | 0.59423 | 1 | 0.79712